## Sheet1
Tên thiết bị | Model | Nhà sản xuất
Calibrator Fluke 5520A | 5520A | Fluke
Calibrator Fluke 5520A (thời gian tần số) | 5520A | Fluke
High Voltage Digital Tester | 149-10A | Kikusui
Current Calibrator for W.Tester | TOS1200 | Kikusui
Digital multimeter, 6.5 digit | 34410A | Agilent
High Voltage Probe | HV-P60 | Iwatsu
Decade Resistance Box | 279303 | YOKOGAWA
Standard Capacitance | WCS | SumJEM
Standard Resistor | WRS | SumJEM
Standard Resistor Box | NS-116 | NISSIN
External Shunt | 221511 | YOKOGAWA
MiliOhm Resistor | NDVR-002A-5 | Nihon Denkei
MiliOhm Resistor | NDVR-002A-4 | Nihon Denkei
MiliOhm Resistor | NDVR-002A-3 | Nihon Denkei
MiliOhm Resistor | NDVR-002A-2 | Nihon Denkei
MiliOhm Resistor | NDVR-002A-1 | Nihon Denkei
MiliOhm Resistor | NDVR-001A | Nihon Denkei
Digital Multimeter | 289 | Fluke
midi Logger | GL800 | Graphtec
Standard Inductance | HLS series (6 pcs) | SumJEM
High Voltage Digital Tester | 149-10A | Kikusui
Current Calibrator for W.Tester | TOS1200 | Kikusui
COIL | 5500A/COIL | Fluke
Decade Resistance Box | 279301 | YOKOGAWA
Calibrator Fluke 5502A | 5502A | Fluke
Muntifunction Synthesizer | WF1943B | NF
Digital Oscilloscope | DS1102CA | Rigol
Decade Resistor Box | DR25600 | E&C
High Voltage Power Supply | 230-30R | Japan
Standard Resistance | ATV-1R0 | ALPHA
Standard Resistance | ATV-101 | ALPHA
Máy đo độ rung | 690-B, 731-B | Emic
High Voltage Probe | 80-40K | Fluke
Đồng hồ bấm giây | HS-30 | CASIO
INSULATION TESTER | 3166 | HIOKI
Caliper Checker | 515-555 | Mitutoyo
Block gauge set | 516-111-10 | Mitutoyo
Calibration Tester | 170-102M-2 | Mitutoyo
Standard scale | J28152C | Nikon
XY-Glass scale | 150x100mm 20x20mm | Nikon
Glass reading scale | PAH02000 | Nikon
Optical Parallel | 12.25mm | Mitutoyo
Outside Micrometer | 293-831 | Mitutoyo
Outside Micrometer | 293-231-30 | Mitutoyo
Outside Micrometer | 293-232-30 | Mitutoyo
Outside Micrometer | 293-247-30 | Mitutoyo
Objective micrometer | 1.0mm | Nikon
Caliper Checker | 515-556-2 | Mitutoyo
Steel Gauge block set | M-122/1 | KCP
Gauge Block Comparator | GBC 200 | KCP
Caliper Checker (Steel) | CC600 | KCP
Measuring Microscope | MM-400 | NIKON
Profile Projector | V-12BDC | NIKON
Gauge Block Set - 0 | 516-161-10 | Mitutoyo
Calibration Tester | 521-103 | Mitutoyo
Levelnic | DL-S3 | SK
Calibration Tester | 170-102-12 | Mitutoyo
Digimatic Micrometer | 293-100 | Mitutoyo
MASTER RING | 14 mm | Microrep
MASTER RING | 20 mm | SHS
MASTER RING | 34.5 mm | SHS
MASTER RING | 44.5 mm | SHS
MASTER RING | 50 mm | Microrep
Pin Gauge | 1÷30 mm | Eisen
Limit Plug Gauge | 8.5 mm | SHS
Limit Plug Gauge | 31.1 mm | SHS
Limit Plug Gauge | 43 mm | SHS
ULM | DMS 680S | Microrep
BÀN MÁP | 600x600 mm | Niigata Seiki
LÚP ĐO | LSL 35 | NSK
Torque wrench tester | DOTE20N3-G | Tohnichi
Torque wrench tester | DOTE200N3-G | Tohnichi
Torque driver tester | TDT60CN3-G | Tohnichi
Torque driver tester | TDT600CN3-G | Tohnichi
Load Cell | RX-3050-500N | Aikoh-500N
Load Cell (Digital Transducer Indicater) | M-0215T / 3200 | Aikoh
Load Cell | CCDS-10kN-003-000
Load Cell | CCDHA-500kN-003-000
Load Cell | CCDHA-100kN-003-000
Force Weight Standard 20 pcs | F2 (0~200N) | Viet Nam
Miếng chuẩn độ cứng | 712 HV30 | YAMATO
Miếng chuẩn độ cứng | 500 HV10 | YAMATO
Miếng chuẩn độ cứng | 300 HV10 | YAMATO
Miếng chuẩn độ cứng | 20.60 HRC | YAMATO
Miếng chuẩn độ cứng | 45.1 HRC | YAMATO
Miếng chuẩn độ cứng | 64.3 HRC | YAMATO
Miếng chuẩn độ cứng | 43.0 HRBS | YAMATO
Miếng chuẩn độ cứng | 61.6 HRBS | YAMATO
Miếng chuẩn độ cứng | 90.9 HRBS | YAMATO
Áp kế hiện số | Additel ADT672 | Additel
Áp kế hiện số | Additel ADT672 | Additel
Áp kế hiện số | Additel ADT672 | Additel
Máy đo áp suất khí quyển Barometer | N/A | N/A
Standard Weight | F2 (1mg~5kg) | Murakami
Standard Weight | M1 (1mg~5kg) | Murakami
Standard Weight | M1 (10kg) | Murakami
Standard Weight | F2 (10kg) | Murakami
Standard Weight | M1 (20kg) 2 pcs | Murakami
Standard Weight | F2 (20kg) 2 pcs | Murakami
Standard Weight | E2 (1g~5kg) | Murakami
Standard Weight | M1 (20kg) 10 pcs | Việt Nam
Precision Balance | GF-10K | AND
Mass Comparators | MC-1000 | AND
Analytical Balances | GR-120 | AND
Measurement Indicator | MI70 | Vaisala
Temperature Dry Block Calibrator | Jupiter 650 Site | Isotech/uk
Temperature Dry Block Calibrator | Europa 6 Site | Isotech/uk
Precision Reference Specimen | 178-601 | Mitutoyo
Sound Level Calibrator | SC-2120A | ONO SOKKI
Calibration Exciter | VX-1100A | ONO SOKKI
Univeral Counter | 53131A | Agilent
Bộ nhiệt ẩm kế chuẩn | ES35-SW (Hiển thị laptop và 18 sensor) | Epcb Tech
Qủa cầu chuẩn | 20 mm | Mitutoyo
Bộ pin 3 dây | NA
Thước đo chiều dài | ISL-A1-400 | INSIZE
Kính hiển vi đo lường tự động | VMA-2520 | NIKON
Bộ tấm chuẩn chiều dày | T99022255-2 | ELCOMETER
Working Standard Scales | HL3-1000(182-534-10) | MITUTOYO
Steel Gauge block set | BM1-8R-0/D | MITUTOYO
Đầu đo công suất cao tần | E4412A / N1913A | KEYSIGHT
Ampe kìm | 3280-10F | HIOKI
Bể ổn nhiệt | WBE10 | POLYSCIENCE
Withstanding Voltage Tester/ Insulation Resistance Tester | TOS8870A | HIOKI
Temperature calibrator | 125 | Prova
Bơm khí | Additel ADT917 | Additel
Bơm thủy lực | Additel ADT927 | Additel